## Slide 1: Detection of HIV Infection in the Laboratory Using HIV Elisa and Rapid Tests
Notes: <number>

## Slide 2: Learning Objectives
How to detect HIV antibodies/HIV infection?
Whom to test?
How to test? Process of HIV testing: commensurate with the objective of testing
Protocols/strategies of HIV testing
How to interpret the test results?
National Policy of testing
Notes: <number>
Laboratory diagnosis of HIV
HIV infection has a long asymptomatic phase and one is usually not aware of the infection in the initial period. However, those practicing high risk behaviors and those at risk may be infected and unaware of the fact. Such individuals in the community need to be counseled and tested after informed consent in a confidential and non-stigmatising way. It is only by testing in the laboratory for HIV antibodies that one can detect HIV-infected individuals even those who otherwise are absolutely healthy.
HIV infection per say does not cause signs and symptoms which are pathognomic of HIV disease. Rather the signs and symptoms are those due to reactivation of diseases like TB and of other opportunistic infections. So, clinically one can suspect HIV-infection/AIDS, but diagnosis is always confirmed by laboratory testing for HIV. This has legal implications also. The diagnosis of HIV should be done following the National Policy, observing confidentiality, after counseling and informed consent. The result should be communicated to the client after correct interpretation and post test counseling in a congenial atmosphere.
The tests and strategies used for diagnosis of HIV infection are different in adults and children more than 2 years old and in infants and children less than 18 months old. This is because maternal HIV-antibodies transferred through placenta to the foetus may persist in the baby up to 18 months and give positive serological result even though the baby is not infected with HIV (only exposed to HIV).

## Slide 3: Detection of HIV Infection
Clinical symptoms of HIV infection are not characteristic to enable to diagnose clinically
Acute infection may be asymptomatic
Infection may be/is silent until last stages (AIDS)
HIV infection can be detected only in the laboratory by detecting specific antibodies or components of HIV
Only way to diagnose HIV infection is by laboratory testing for specific antibodies and/or the structural components of HIV.
Notes: <number>

## Slide 4: Aims of laboratory support
Preventing transmission through blood, tissues, organs (Transplantation)
Preventing Parent to Child Transmission (PPTCT) -
Promoting voluntary counseling and confidential testing
Diagnosis, staging and monitoring of HIV infection to enable early detection and ART treatment
Estimating disease burden (surveillance)
Conducting surveys to define groups/areas needing special interventions
Post exposure management
Notes: <number>

## Slide 5: Approach to HIV Testing
Suspect HIV infection (from sexual history/history of other risk factors and referred cases with clinical symptoms)
Pretest counseling
Informed consent
HIV testing
Post test counseling
Refer HIV positive to ART site for assessing clinical and immune status (CD4 cell count) and ART as required
Follow up counseling as required
Notes: <number>
The family physician usually knows the behaviors of individuals in the community. It is very important to ascertain the sexual history/practices particularly of adults and adolescents to decide who are at risk and who need testing.

## Slide 6: General principles
HIV testing is a part of the overall comprehensive preventive program of NACP III
Testing should be technically sound and appropriate
Test procedure must be appropriate to the field situation
Laboratory procedure must be monitored for quality
Notes: <number>

## Slide 7: Testing procedures
Unlinked anonymous
Voluntary & confidential
Mandatory
Notes: <number>

## Slide 8: Three types of tests
1. Screening tests - Enzyme linked immunoassays (ELISA) /rapid tests.
2. Supplemental for confirmation of screening test- E/R, WB, LIA, etc. Supplemental assays are highly specific and will confirm a positive diagnosis.
3. Nucleic acid and antigen detection tests.
    Polymerase chain reaction (PCR)
    RT –PCR
    b-DNA
    NASBA
    p24 antigen detection assays
Notes: <number>
A plethora of kits and assays (ELISA, Rapid and Simple) are available in the market to detect HIV antibodies. One has to be prudent in selecting the assay. To diagnose HIV-infection one requires two to three different assays based on different antigen systems and/or different principles of test. The first (screening) assay/kit selected should be 100% sensitive and highly specific and 2nd and 3rd assays (supplementary/confirmatory assays) selected should have high sensitivity and highest specificity (>98%)

## Slide 9: Laboratory diagnosis
Detection of antibodies to HIV-1 and HIV-2 in adults and children older than 18 months
  Screening tests – First kit - A1
ELISA
Rapid
  Supplementary test – Second kit/third kit - A2 / A3
  Indeterminate results- Follow up: instruct patient to return after 2-4 weeks for retesting on a fresh sample;
  In case repeat testing yields indeterminate, refer second sample to respective NRL in-charge for retesting then Western blot and/or PCR or p24 Ag
Detection of virus or viral products in HIV exposed infants <18 months
  P24 antigen detection
  PCR /RT-PCR (in case of indeterminate results & W.P.)
Notes: <number>
The mainstay of diagnosis in India is detection of anti-HIV antibodies. Though, in certain circumstances one has to resort to detection of viral nucleic acids and/or viral protein p24 for diagnosing infection e.g.. as in cases of newborn borne to HIV-infected mother, during window period and to resolve discordant (one or two tests reactive and third non-reactive) serological results.

## Slide 10: Characteristics of HIV rapid tests
Based on four immunologic principles:
    particle agglutination,
    ELISA,
    immunofiltration (spot and dot)
    immunochromatography
Positive test kit result indicated by clumping, a spot, a dot or line (visual to naked eye)
Most rapid tests detect antibodies to both HIV-1 and HIV-2 (all the types and subtypes)
Results within 30 minutes
Notes: <number>
A variety of rapid assays, which detect HIV antibodies are available. These are based on different principles of test like agglutination, immunodot, immunofiltration, immunochromatography and ELISA. The technologies have been improved so that sensitivity and specificity of rapid assays is similar to ELISA. Rapid assays are easy to perform give visual readings and donor require special equipment. Equipment is now available to quantity the results of a rapid assay, if required.

## Slide 11: How Immunoconcentration Works
HIV antibody links to bound HIV peptide antigens forming the color spot
Internal Control
HIV-1 peptide
HIV-2 peptide
Notes: <number>

## Slide 12: Tests Based on Immunoconcentration
10
Flow-Through Devices:
Top view
Side view
Notes: <number>

## Slide 13: How Immunochromatography Works
12
Test
Line
Control
line
Conjugate
Add Sample
IgG Antibodies
HIV antibodies
Colloidal gold
conjugated to HIV antigen
HIV antigen
Anti-IgG/gold
antibodies
Notes: <number>

## Slide 14: Tests Based on Immunochromatography
13
Lateral Flow Devices
Determine
Hema- Strip
Ora Quick
Unigold
Control
HIV Antigen
Specimen Flow
Sample pad
Notes: <number>

## Slide 15: Reading Results: Determine
14
Non-
Reactive
Reactive
Sample Pad
Test line
Control line
Notes: <number>

## Slide 16: How Particle Agglutination Works
16
Anti-HIV antibodies bind to the antigen-coated latex particles. A lattice (Jal) is formed which is seen as clumps.
Antigen
Antibody
Notes: <number>

## Slide 17: Tests Based On Agglutination
17
Agglutination devices:
Capillus
Serodia
Notes: <number>

## Slide 18: Reading Results: Capillus
18
Non-
reactive
Weak
Reactive
Strong
Reactive
Notes: <number>

## Slide 19: There are only three possible outcomes for single HIV antibody tests
19
Reactive
Test band present and control band present
Non-reactive
Control band only
Invalid
No control band present
Test has failed
Repeat with new device
Notes: <number>

## Slide 20: ELISA principle
Notes: <number>

## Slide 21: ELISA plate showing positive (colored) and negative (colorless) result
Notes: <number>

## Slide 22: Validation of ELISA results
Strictly follow manufacturer’s kit instructions for performing and interpreting ELISA
The kit controls result should be within range given in the kit insert
The OD value of positive quality control used should be within ± 2 SD when plotted on Levy Jehnning chart
In case above two conditions are not met the ELISA run is invalid and the test has to be repeated
Notes: <number>

## Slide 23: HIV testing strategy IIB
Notes: <number>
Strategy II is used in cases where there is strong clinical suspicion of HIV/AIDS and the patient is symptomatic with AIDS indicator diseases and for sentinel surveillance. The testing is done serially. If sample is found to be reactive with first assay then the sample is retested with second assay and if sample is found reactive with second assay also then diagnosis of HIV/AIDS is made. If second assay is non-reactive then as per the policy the patient is given a negative result. However, such a person should be counseled and follow up testing may be done in the light of history of his/her risk behavior.

## Slide 24: HIV testing strategy III
For diagnosis of asymptomatic cases
Notes: <number>
Three different types of assays are required to practice strategy III. This strategy is used at VCCTCs. Again testing is done serially on samples found to be reactive. A sample found to be reactive with two different test systems is exposed to the third assay and if found reactive the client is diagnosed as HIV-infected. If third assay gives non-reactive result, patient is followed up and retesting is done after 2-4 weeks. If the serostatus remains unresolved refer to State/National Lab. for western blot and / or PCR

## Slide 25: HIV testing strategy III
Three different types of assays are required to practice strategy III.
This strategy is followed at ICTCs.
Serial testing is done on samples found to be reactive with first test kit Such specimen are tested with the second different HIV test kit.
A sample found to be reactive with two different test systems is exposed to the third assay and if found reactive the client is diagnosed as HIV-infected and to be positive for HIV antibodies.
If third assay gives non-reactive result, report indeterminate and patient is followed up and retesting is done after 2-4 weeks. If the sero-status remains unresolved refer to State/National reference Lab. for confirmation of HIV status
Notes: <number>

## Slide 26: Invalid Results – What Do You Do?
35
1. Repeat test
2. If repeatedly invalid:
assume problem with test product or procedure
continue with alternative testing algorithm
Identify cause of problem
Inform supervisor
Take corrective actions
Notes: <number>