## Slide 1: Inventory/Stock Management
Inventory/Stock Management

## Slide 2: Definitions
Inventory is the listing of items which are available and used in the ICTC lab
Stock is the record of quantity of items procured and their status
Inventory/stock management is to properly maintain adequate supplies to ensure uninterrupted service
Notes: 2005
Module 10: Inventory
<number>

## Slide 3: Learning Objectives
To know what is Inventory/stock management?
To know record keeping of items being used at the site?
To know when to re-order, and how much to reorder (levels)?
To know how to receive (what all to record and how to physically examine) consumables and kits?
To know how to store consumables, kits and reagents?
Notes: 2005
Module 10: Inventory
<number>

## Slide 4: Inventory/Stock Management Leads to High Quality Testing, minimizes wastage
Ensures availability of materials and kits, when needed
Avoids the use of expired kits
Minimizes wastage
Notes: 2005
Module 10: Inventory
<number>

## Slide 5: Inventory/Stock Management Involves…
Performing a “stock count”
Maintaining proper inventory records
Determining when to re-order
Determining how much to re-order
Placing orders properly
Inspecting delivery of new orders
Ensuring proper storage of stock
Notes: 2005
Module 10: Inventory
<number>

## Slide 6: Perform a “Stock Count”
What is it? | Physically counting each item in the stock
When is it done? | Each time a new kit is issued – record status of utilization At the beginning of each month
Who does it? | A designated person
All items must be accounted for. Everything that comes in and goes out must be recorded
Notes: 2005
Module 10: Inventory
<number>

## Slide 7: Maintain Proper Inventory Records
Stock Book/Register
Contains listing of all items in the store
Update monthly after physical count
Use information from stock cards
Also called register
Notes: 2005
Module 10: Inventory
<number>

## Slide 8: Stock Book/Register: An Example
Notes: 2005
Module 10: Inventory
<number>

## Slide 9: Reconciling Stock with Records
What should be done to minimize wastage?
Ideal
Reality
# Tests Performed + Controls = Stock Depletion
# Test Performed + controls + wastage = Stock Depletion

## Slide 10: Determine When to Re-order
Terminology
Minimum stock - Amount of stock required to support testing operations until additional supplies are received
Lead time – Time between placing an order and receiving it
Maximum usage – number of test kits used in a given time period
Re-order when stock reaches minimum level
Notes: 2005
Module 10: Inventory
<number>

## Slide 11: Calculating Minimum Stock Level
Example:
Maximum lead time = 12 weeks
Maximum usage/wk = 3 kits
Minimum stock level = 12 x 3 = 36 kits
When only 36 kits are left, place an order
=
Maximum lead time in weeks
X
Maximum Usage
Minimum Stock Level
Notes: 2005
Module 10: Inventory
<number>

## Slide 12: Determine How Much to Re-order
Never order more than your storage space can hold
Never order more supplies than you can use before they are expired
Consider maximum usage plus minimum stock level and cost of shipping
Establish proper full stock level. Re-order to reach that level.
Notes: 2005
Module 10: Inventory
<number>

## Slide 13: Determine Full Stock Level
Maximum usage /wk = 70 tests
# tests / month = 70 x 4
280 tests used per month
Assuming 20 tests per kit, how many kits are used per month?
280 / 20 = 14
Maintain stocks that cover
maximum usage plus minimum stock level
Lead time = 12 weeks or 3 months
Minimum stock level = 14 kits x 3 months = 42 kits
Full stock = 42+14 = 56
You must always have 56 kits in stock at the beginning of each reorder cycle
Notes: 2005
Module 10: Inventory
<number>

## Slide 14: Place Orders Properly
Follow the system used locally in state/ hospital to place order for supplies (Indent or some other system)
Maintain the record of the order (What, How much, When, To whom)
Notes: 2005
Module 10: Inventory
<number>

## Slide 15: Inspect Delivery of New Orders
Upon receipt:
Verify and tally the contents of order received with requisition
Check integrity of received supplies
Date each item received
Note expiration date
Store new shipment behind existing shipment
Create or update records
Notes: 2005
Module 10: Inventory
<number>

## Slide 16: Examine Lot Number & Expiry Date
Notes: 2005
Module 10: Inventory
<number>

## Slide 17: Ensure Proper Storage of Inventory
Keep in a clean, organized, and locked storeroom
Store according to manufacturer’s instructions (in case of kits, appropriate temperature of storage is essential)
Place in a well ventilated room
Store away from direct sunlight
Organize existing and new shipments by expiration dates
First expiry, first out
The kits that are expiring at an earlier date must be used first
Notes: 2005
Module 10: Inventory
<number>

## Slide 18: Carry-home Messages
Maintain an adequate inventory at all times to ensure uninterrupted service.
Don’t let any item run out before re-order.
Never order more than your storage space can hold. Never order more supplies than you can use before they are expired.
All items in the inventory must be accounted for and recorded.
Always inspect new shipment before accepting.
Notes: 2005
Module 10: Inventory
<number>