## Slide 1
1
Summary of the training modules
Notes: <number>

## Slide 2: Introduction
2
You know now what is HIV and what is AIDS. How HIV is acquired, how it causes disease what are the common routes of transmission and how to prevent and control its spread/Learn about HIV/AIDS
You have been given the theoretical and practical skills for performing both HIV rapid and ELISA in the standard way practicing quality assurance
You now know what are the different HIV testing strategies and how to interpret and report of tests
You now know how to protect yourself from acquiring any blood borne infection while working with clients by following biosafety practices
Quality checks required to be practiced for HIV testing and systems to monitor the same
You now know the difference between a document and a record and what documentation and records to maintain at ICTC
Notes: <number>

## Slide 3: Virology,Pathogenesis &treatment of HIV/AIDS
3
HIV-Human immunodeficiency virus and is of type 1&2 having various subtypes
AIDS-Acquired immune deficiency syndrome which is the last stage of HIV when CD4 cells are reduced <200 & OI seen
Transmitted by sexual route, through blood and blood products, infected needles etc and mother to child
Virus is fragile and easily destroyed by autoclaving, hot air oven and disinfectants like 1-10 % sodium hypochlorite
Immune system : B and T cell population
B cells- Humoral immunity or by Ab production
T cells – Cell mediated immunity- CD4 (helper) and CD8 (cytotoxic ) cells
At present no cure but ART can manage the progression of disease- At present three drug regimen recommended
Notes: <number>

## Slide 4: Principles of rapid tests- used for detecting Antibodies to HIV
Particle agglutination, ELISA, Immunofiltration, immunochromatography
Screening test – A1
Supplemental tests are A2 and A3. These tests cannot be interchanged
Cannot detect HIV infection during window period

## Slide 5: Detection of HIV infection
9
Testing strategies
Strategy I :(Transfusion/transplantation safety) – Only 1 test done to report as positive or negative
  Strategy II A : (For Surveillance) – 2 tests required If A1 negative ,report as negative
  If A1 + then repeat with A2: If both positive report as positive , if A2 is negative report as negative
Strategy IIB : (Diagnosis in an individual with AIDS indicator disease)
  If A1 negative ,report as negative
  A1 +, A2+: Report positive
  A1 +, A2-: Repeat with A3
    If A3 + : Indeterminate- call after 2-4 weeks for repeat testing
    If A3 - : Report negative
Notes: <number>

## Slide 6: Contd-
10
Strategy III
Notes: <number>

## Slide 7: Prevention of blood borne infection and SWP
17
Personnel safety- Hep B immunisation
Protective barriers like gloves, coat and where required masks and splash proof gowns
Hand washing
Use needle cutters
Disinfect all infected needles and syringes with sodium hypochlorite solution freshly prepared (1% i.e 1 part of hypochlorite in 3 parts of water in a 4% solution and 1 part of hypochlorite in 39 parts of water in a 40% solution
Blood and spills to be disinfected with 10% hypochlorite solution.
In case of accidental injury – Inform, wash or rinse the area, do not squeeze or put in the mouth, PEP is available with CMO of the facility
Notes: <number>

## Slide 8: Process flow
18
Receive clients after pretest counseling
Verify details and register the client
Label container with patient details. Collect specimen using standard work precautions in appropriate container ( plain vial for antibody testing, EDTA vacutainer for CD4 testing)
Transport to testing site appropriately at correct temperatures
Test the specimen as required and enter the findings carefully in the register. Always write the name of the kit used its batch No. and expiry date and verify before testing. Verify the cold chain of the kit and record temperature of refrigerator daily.
Any overwriting in the register must be countersigned by lab supervisor
Issue report after post test counseling only
Notes: <number>

## Slide 9: Quality measures in testing
19
All external samples received by the lab for quality check must be reported like regular samples and report sent to the supervisory lab within 1 week of receipt of panel (EQAS)
Always put controls along with the test
Send 20% positive samples and 5% negative samples in the collected in the first week of every quarter of the year (1st to 7th of Jan, Apr, July, Oct ) for confirmation to the supervisory lab and request for results which should be documented
Always read the technicians manual for help, prepare SOPs with supervisor in the lab and follow kit insert carefully.
Notes: <number>

## Slide 10: Documentation
28
Always maintain stock / inventory registers
Request for stock well in advance anticipatin the delivery time to be at least 12 weeks
Document lab tests in the register carefully and also verify patient details before reporting
Notes: <number>

## Slide 11
Rationale for performance of syphilis test in ICTC
  Syphilis increases the risk of both transmitting and getting infected with HIV,
  Testing is required in the same population groups: HRG, ANC and STI attendees
Serological tests for Syphilis include VDRL (Venereal Disease Research Laboratory) test and RPR- Rapid Plasma Reagin test.
Qualitative RPR to be performed first and all positives and weakly reactives subjected to quantitiative as per SOP
Include positive and negative controls to ensure validity of test results.
Report the results as negative or reactive with dilution.
Summary Slide- Syphilis