## Slide 1: External Quality Assessment (EQA) Proficiency Testing
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 2: Learning Objectives
At the end of this module, you will be able to:
Assess operations at test site (participating lab) to determine if quality requirements are met
Take corrective actions following External Quality Assessment (EQA)
Keep appropriate records related to EQA
Avoid common problems associated with EQA specimen management
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 3: Content Overview
What is EQA and why is it important?
EQA Responsibilities
EQA Methods
  Proficiency Testing
  On-Site Evaluation
  Re-testing?????????
How to implement EQA
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 4: External quality assessment: Definition
A programme in which a laboratory participates and receives a blinded, composite panel of samples from another laboratory conducting the EQA.
The laboratory processes the samples just like the routine test samples and returns the result to the organizing laboratory for analysis within the specified time on the designated format.
The conducting laboratory analyzes data received, provides feed back to the participating laboratories and does the troubleshooting in case of default

## Slide 5: Why EQA?
Allows comparison of performance and results among different test sites
Provides early warning for systematic problems associated with kits or operations
Provides objective evidence of testing quality
Indicates areas that need improvement
Identifies training needs
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 6: EQA: Conducted at All Levels of Testing
<number>
NRL = National Reference Lab
SRL = state Reference lab
TS = Test Site (ICTCs, PPTCTCs)
SRL
TS
TS
TS
TS
TS
TS
SRL
TS
TS
TS
TS
TS
TS
SRL
TS
TS
TS
TS
TS
TS
TS
SRL
TS
TS
TS
TS
TS
NRL
SRL
TS
TS
TS
TS
TS
TS
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 7: Management Responsibilities: Overview
Determines policies for EQA (NACO)
Assign responsibility (Apex (NARI, Pune), NRLS and SRLs)
Establish and maintain a system for assessment visits
  Schedule visits (NACO and NRLs/SRLs)
  Conduct evaluations (Twice a year)
Receive EQA results and support corrective action measures (NRLs and NACO)
Monitor and maintain records(NRLSs and NACO)
Investigate deficiencies (NRLS and NACO supervisory visits)
Manage corrective action efforts (Site)
Communicate outcomes (Site to SRL to NRL to Apex to NACO)
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>
Some of the responsibilities here may be carried out by different individuals within the Ministry of Health; Supervisor/Managers, Quality Assurance Committee, or Site Quality Officers

## Slide 8: Testing Site (ICTC/PPTCT) Responsibilities: Overview
Participate in the EQA program
Take corrective actions
Maintain EQA records
Communicate outcomes to supervisors (SRL/NRL/SACS/Apex)
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 9: Quality assessment methods used in the National Program
<number>
Proficiency
Testing
On-site
Evaluation
Re-checking/
Re-testing
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 10: What is Proficiency Testing?
Panels of specimens are sent to multiple test sites by reference laboratory
Test sites perform tests and report results
Results indicate quality of personnel performance and test site operations
Results are often compared across several testing sites
<number>
Proficiency
Testing
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 11: What is On-site Evaluation?
Periodic site visits to undertake systematic assessment of lab practices
  Focuses on how the lab monitors its operations and ensures testing quality
  Provides information for internal process improvement
<number>
On-site
Evaluation
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 12: What is On-site Evaluation? – Cont’d
Also referred to as audits, assessments, or supervisory visits
Learn “where we are”
Part of every lab quality system
Measures gaps or deficiency
Collect information for:
  Planning & implementation
  Monitoring
  Continuous improvement
<number>
On-site
Evaluation
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 13: What is Re-testing?
Process by which a specified percentage of specimens collected in a defined period of time from the routine workload at the test site and sent to the SRL/NRL for crosschecking of results.
Used to detect errors
<number>
Re-checking/
Re-testing
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 14: EQA/Assessments should lead to corrective Actions
<number>
EQA/
Assessments
Take
Corrective
Action
“Corrective Action”
An action taken to correct a problem or deficiency
Examples:
  Production of an incorrect result
  Not following procedures
Identify
Problems
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 15: Problems may occur throughout the testing process
  Specimen compromised during preparation, transport, or after receipt by improper storage or handling
Reagents, test methods, QC
Competency of staff
Report format
Interpretation
Pre-Testing
Testing
Post-Testing
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 16: Take Corrective Actions
Use problem-solving team:
  Investigate root causes
  Develop appropriate corrective actions
Implement corrective actions
Examine effectiveness of corrective actions
Record all actions and findings
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 17: Sample of Corrective Action Form
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 18: How To Implement Quality Assurance as per the National Program
<number>
Re-checking/
Re-testing
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 19: Issues to Consider for Re-testing
What is the purpose of re-testing?
Can turnaround of re-testing be accomplished in a timely manner allowing for immediate corrective actions?
How should EQA specimens be labeled and recorded?
When should specimens be shipped/transported to reference laboratory?
The laboratory that should re-test specimens submitted by test sites?
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 20: Re-testing (Cross-checking) Process
Specimen type –serum
Sampling plan once every quarter
Prepare specimens, store specimens until transport
Package and transport specimens along with paperwork to designated SRL/NRL
Compare re-test results with site results
Feed back and take Corrective Actions, if needed
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 21: Testing sites’ Responsibilities: Re-testing
Follow written policies and procedures
Collect appropriate specimen
Record keeping is essential
Take necessary precautions to avoid transcription errors
Package and transport EQA specimens to designated reference laboratory
Take necessary corrective actions after feedback
<number>

## Slide 22: Specimen Requirements
Serum or Plasma
  0.5 ml aliquot in labeled cryo-vial
  Store at 2-8ºC for up to 1 week
  Store at -20ºC or below if longer than 1 week
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 23: Specimen Management : Common Problems
Transcription errors
  Mislabeling cryo-vial
  From Lab register to specimen transfer log
  From reference lab to testing site
Inadequate specimens
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>

## Slide 24: Summary
Describe your responsibilities in quality assessment for the National Program
What is proficiency testing? On-site evaluation? Re-testing?
Explain the process for on-site evaluation.
What are some issues to consider prior to implementing a re-testing program?
Explain the process for re-testing.
What are some common problems associated with specimen management?
<number>
Notes: 2005
Module 13: External Quality Assessment (EQA)
<number>