## Slide 1: Document Control and Various Documents
Notes: <number>

## Slide 2: Learning Objectives
What are documents and records?
Documents
  Why are they important?
  What documents should you keep?
  Why is it important to follow SOPs?
  What is the proper way to keep and maintain documents?
Records
  Why are they important?
  What records should you keep?
  What is the proper way to keep and maintain records?
Notes: <number>

## Slide 3: What Are Documents and Records? An exercise
Documents
  Written policies, (Text books, Journals, ISO standards, etc.) process descriptions, procedures, and blank forms
  Used to communicate information
Records
  Information captured on worksheets, forms, and charts
Notes: <number>

## Slide 4: What Are Documents and Records? An exercise
NACO guidelines
Client test results
Standard operation procedures (SOPs) for an approved HIV rapid test
Manufacturer test kit inserts
Summary of findings form on-site evaluation visit
Exercise: Differentiate between documents and records in list below
Notes: <number>

## Slide 5: Exercise: Differentiate between documents and records in list below
Report of corrective actions
Temperature log (blank form)
Quality control record (blank form)
Daily maintenance log (completed)
Stock cards and stock book (completed)
EQA specimen transfer log (completed)
What are documents and records? An exercise
Notes: <number>

## Slide 6: Documents Are the Backbone of the Quality System
Verbal instructions often are:
      Not heard
      Misunderstood
      Quickly forgotten
      Ignored
Policies, standards, processes, and procedures must be written down, approved, and communicated to all concerned.
Notes: 2005
Module 15. Documents and Records
<number>

## Slide 7: Standard Operating Procedures (SOPs) are Documents that…
Describe how to perform various operations in a testing site
Provide step-by-step instructions
Assure:
  Consistency
  Accuracy
  Quality
Notes: 2005
Module 15. Documents and Records
<number>

## Slide 8: Controlled document: Definition
Documents with limited access and limited distribution meant for authorized users
Controlled documents are prepared/revised by authorized persons
Controlled documents are countersigned by authorized designated persons (e.g. lab in-charge, HOD)
All controlled documents are either in current use or archived as an earlier version
Notes: <number>

## Slide 9: SOPs Are Controlled Documents
Must be approved for use
Must have document control features
Must be kept up-to-date
Counter-signed by HOD/in-charge
Notes: 2005
Module 15. Documents and Records
<number>

## Slide 10: What SOPs Should You Keep at Test Site?
Daily routine schedule
NACO Guidelines
Safety manuals
  Safety Precautions
  Preparation of 1 % and 10% bleach solution
  Post-HIV exposure prophylaxis management and treatment guidelines
Blood collection:
  Fingerprick, venipuncture,
Test procedures
EQA
  Submission of EQA specimens to reference lab
  Internal assessments
Reordering of supplies and kits
Equipment use and maintenance
Notes: 2005
Module 15. Documents and Records
<number>

## Slide 11: SOPs Must Be Followed
Why is it important to follow SOPs?
What are the consequences if you don’t?
Notes: <number>

## Slide 12: Do Not Rely Solely on Manufacturer Product Inserts
Manufacturer product inserts do not provide specific information for test sites
Examples include:
  Materials required, but not in kit
  Specific safety requirements
  Sequence of tests in NACO guidelines.
  External quality control requirements
Notes: 2005
Module 15. Documents and Records
<number>
Might tell what you need, but not where to get it, Ex QC material.
Reference to lab policy – frequency of running QC

## Slide 13: Proper Record-Keeping Makes Quality Management Possible
Record-keeping allows a test site to:
Communicate accurately and effectively
Minimize error
Monitor quality system
Assist monitoring and evaluating programs
Record Keeping
Notes: 2005
Module 15. Documents and Records
<number>

## Slide 14: What Records Should You Keep at a Test Site?
Specimen transfer logs
HIV request / client test result
Lab / Test register
Temperature logs
Equipment maintenance logs
Inventory records
RECORDS
Notes: <number>

## Slide 15: Tips for Good Record Keeping
Understand the information to be collected
Record the information every time
Record all the information
Record the information in the same way every time
RECORDS
Notes: <number>

## Slide 16: Client Test Records
Fill completely and accurately
Write legibly
Sign & date (Technician and supervisor)
RECORDS
Notes: 2005
Module 15. Documents and Records
<number>

## Slide 17: How Long Should You Retain Client Test Records?
It depends on several factors:
National policy (5 years)/state policy
Secure storage space available at test site
Notes: <number>

## Slide 18: Records Should be Permanent, Secure, Traceable
Permanent:
  Keep books bound
  Number pages
  Use permanent ink
  Control storage
Secure:
  Maintain confidentiality
  Limit access
  Protect from environmental hazards
Traceable:
  Sign and date every record
  (both Technician and supervisor)
Notes: 2005
Module 15. Documents and Records
<number>

## Slide 19: Key Messages
Written policies and procedures are the backbone of the quality system
Complete quality assurance records make quality management possible
Keeping records facilitates meeting program reporting requirements
Notes: <number>